GharCheck.in

PROPERTY INSPECTION CHECKLIST

Professional Home Inspection & Snagging Services

| Inspector Name | ____________________________________________________________ |
| --- | --- |
| Inspection Date | ____________________________________________________________ |
| Client Name | ____________________________________________________________ |
| Contact Number | ____________________________________________________________ |
| City | ____________________________________________________________ |
| Builder / Project | ____________________________________________________________ |
| Property Address | ____________________________________________________________ |
| Property Type | ____________________________________________________________ |
| Flat / Unit No. | ____________________________________________________________ |
| Floor No. | ____________________________________________________________ |
| Handover / Possession Date | ____________________________________________________________ |

| ☐ OK = Acceptable / No issue | ☐ Defect = Issue found / note it | N/A = Not applicable |
| --- | --- | --- |

| 🏗 CIVIL & STRUCTURAL FINISH |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Wall surface finish — cracks, uneven plaster, hollowness | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Wall alignment and plumb (vertical) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Beam/column finish — honeycombing, exposed rebar | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Floor level across rooms (drainage slope check) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Ceiling finish — cracks, sagging, uneven paint | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Staircase / common area finish quality | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Terrace / roof surface condition | Notes: ___________________________ |
| ☐ OK | ☐ Defect | External wall plaster — cracks, peeling, efflorescence | Notes: ___________________________ |

| 🪟 TILE & FLOORING |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Tile hollow spots (tap test — hall/bedroom/kitchen) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Tile hollow spots (tap test — bathrooms) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Tile hollow spots (tap test — balconies/terraces) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Tile lippage / uneven edges between tiles | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Tile cracks or chips | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Grout lines — missing, incomplete, cracked | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Flooring slope in wet areas (water flow direction) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Skirting tile — gaps, cracks, alignment | Notes: ___________________________ |

| 💧 SEEPAGE & WATERPROOFING |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Moisture meter reading — walls (all rooms) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Moisture meter reading — ceiling | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Bathroom walls — moisture / seepage signs | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Kitchen area — seepage around sink / slab | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Bathroom floor waterproofing — wet area check | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Balcony floor slope and drainage | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Terrace parapet and waterproofing integrity | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Toilet drain slopes — correct fall direction | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Visible staining or tide marks from previous leakage | Notes: ___________________________ |

| ⚡ ELECTRICAL |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | All power sockets — tested (live/functional) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Polarity check — all circuits | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Earthing check — all sockets | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Light points — all functioning | Notes: ___________________________ |
| ☐ OK | ☐ Defect | DB (Distribution Box) panel — labels, MCBs, ELCB | Notes: ___________________________ |
| ☐ OK | ☐ Defect | AC points — phase/neutral/earth verified | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Geyser / exhaust wiring and socket type | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Conduit quality — flush, not exposed | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Switch plates — alignment, gaps, loose fittings | Notes: ___________________________ |

| 🚿 PLUMBING & SANITARY |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Water supply — pressure check (all taps) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Hot water supply — kitchen and bathrooms | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Drain flow — kitchen, bathrooms, balconies | Notes: ___________________________ |
| ☐ OK | ☐ Defect | WC flush — tank fill, flush power, no wobble | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Wash basin — tap, drain, waste coupling | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Shower / overhead — flow and pressure | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Pipe fittings — no visible leaks at joints | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Manhole covers — flush, sealed, accessible | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Under-counter plumbing — no leaks or loose joints | Notes: ___________________________ |

| 🚪 DOORS & WINDOWS |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Main entrance door — alignment, closing, locks | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Internal doors — smooth operation, handles, latches | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Door frame gaps — no visible daylight gaps at frame | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Windows — frame alignment, smooth sliding/casement | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Window grills / mesh — properly fitted | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Window sealing — no gap with wall / frame | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Balcony door / French door — sliding track, lock | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Ventilation openings — clear, correct size | Notes: ___________________________ |

| 🍳 KITCHEN |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Platform / countertop — level, cracks, finish | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Sink fitment — sealed, no gaps at wall | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Kitchen drain slope toward sink | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Overhead cabinets (if provided) — alignment, hinges | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Chimney/exhaust point — correctly positioned | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Mosaic / dado tiles — hollow or cracked | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Gas pipeline point — capped, labeled | Notes: ___________________________ |

| 🛁 BATHROOMS |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Dado tiles — hollow spots, cracks, grout gaps | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Bathroom floor slope toward drain | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Mirror / fixture fitment (if provided) | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Door — waterproof material, smooth close | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Exhaust point — placed correctly | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Wall-mounted fixtures (towel rod, etc.) — secure | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Toilet seat — stable, correct fitment | Notes: ___________________________ |

| 🎨 PAINTWORK & FINISHING |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Internal paint — uniform coat, no patches or brush marks | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Wall corners — clean finish, no gaps or cracks | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Ceiling paint — uniform, no stains or roller marks | Notes: ___________________________ |
| ☐ OK | ☐ Defect | External paint — uniform, no fading or peeling | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Balcony paint/texture — uniform and weather sealed | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Sealants at wall-floor junction — continuous, not cracked | Notes: ___________________________ |

| 🏢 COMMON AREAS & EXTERNAL |  |  |  |
| --- | --- | --- | --- |
| Status | Defect? | Inspection Item | Remarks / Observations |
| ☐ OK | ☐ Defect | Lift lobby finish — walls, flooring, ceiling | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Staircase handrail — secure, continuous | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Common passage lighting | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Society parking area — marking, drainage | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Building entrance gate / intercom | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Overhead water tank — accessible, covered | Notes: ___________________________ |
| ☐ OK | ☐ Defect | Society compound wall finish | Notes: ___________________________ |

INSPECTION SUMMARY & SIGN-OFF

| Civil & Structural Finish | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| --- | --- | --- | --- |
| Tile & Flooring | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Seepage & Waterproofing | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Electrical | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Plumbing & Sanitary | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Doors & Windows | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Kitchen | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Bathrooms | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Paintwork & Finishing | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |
| Common Areas & External | Total Checked: _______ | Defects Found: _______ | Critical: _____________ |

| Overall Assessment ☐ Ready for Handover ☐ Defects — Builder Action Needed ☐ Critical Defects Found — Do Not Accept Possession | Total Items Checked: ________ Total Defects Found: ________ Critical Issues: ________ |
| --- | --- |

| Inspector Signature Sign: _______________________________ Date: _______________________________ | Client Acknowledgement Sign: _______________________________ Date: _______________________________ |
| --- | --- |

Additional Notes / Observations

Write any additional observations, photo references, or builder communication notes here: